## Box
boxShortDescription | boxBrand | boxProductName
cci ldw c/c/f combo | cci_Leer | CCI"door Expandable Display Cooler/Cooler/Freezer Combo
cci"d c/c combo | cci_Leer | CCI"door Expandable Walk-In Cooler/Cooler Combo
cci"d c/c combo flrless throughout | cci_Leer | CCI"door Walk" Storage Cooler/Cooler Combo Floorless
cci"d ewis | cci_Leer | CCI"door Expandable Walk-In Storage Cooler / Floorless
cci"d clr flr | cci_Leer | CCI"door Expandable Walk-In Storage Cooler with Floor
cci"d c/f combo | cci_Leer | CCI"door Expandable Walk-In Storage Cooler/Freezer Combo
cci"d c/f combo flr throughout | cci_Leer | CCI"door Expandable Walk-In Storage Cooler/Freezer Combo, Floor Throughout
cci"d c/f combo flrless throughout | cci_Leer | CCI"door Expandable Walk-In Storage Cooler/Freezer Combo, Floorless
cci"d ewif no flr | cci_Leer | CCI"door Expandable Walk-In Storage Freezer / Floorless
cci"d ewif flr | cci_Leer | CCI"door Expandable Walk-In Storage Freezer with Floor
cci"d f/f combo flr throughout | cci_Leer | CCI"door Expandable Walk-In Storage Freezer/Freezer Combo
cci"d f/f combo flrless throughout | cci_Leer | CCI"door Expandable Walk-In Storage Freezer/Freezer Combo, Floorless
cci"d ld | cci_Leer | CCI"door Expandable Display Cooler / Floorless
cci"d ld flr | cci_Leer | CCI"door Expandable Display Cooler with Floor
cci ld c/f combo | cci_Leer | CCI"door Expandable Display Cooler/Freezer Combo
cci ld c/f flr throughout | cci_Leer | CCI"door Expandable Display Cooler/Freezer Combo, Floor Throughout
cci ldf flr | cci_Leer | CCI"door Expandable Display Freezer with Floor
cci ldw | cci_Leer | CCI"door Walk" Display Cooler Floorles
cci ldw flr | cci_Leer | CCI"door Expandable Walk-In Display Cooler with Floor
cci ldw/b.cave combo | cci_Leer | CCI"door Expandable Walk-In Display Cooler/Beer Cave Combo
cci ldw c/f combo flrless throughout | cci_Leer | CCI"door Expandable Walk-In Display Cooler/Freezer Combo, Floorless
cci ldw c/f combo | cci_Leer | CCI"door Expandable Walk-In Display Cooler/Freezer Combo
cci ldw c/f combo flr throughout | cci_Leer | CCI"door Expandable Walk-In Display Cooler/Freezer Combo, Floor Throughout
cci ldwf frz no flr | cci_Leer | CCI"door Expandable Walk-In Display Freezer Floorless
cci ldwf frz flr | cci_Leer | CCI"door Expandable Walk-In Display Freezer with Floor
cci out ldw clr flr | cci_Leer | CCI Outdoor Expandable Walk-In Display Cooler / Floor
cci out ldw clr | cci_Leer | CCI Outdoor Expandable Walk-In Display Cooler / Floorless
cci out ldw c/c combo | cci_Leer | CCI Outdoor Expandable Walk-In Display Cooler/Cooler Combo
cci out ldw c/f combo | cci_Leer | CCI Outdoor Expandable Walk-In Display Cooler/Freezer Combo
cci out c/c | cci_Leer | CCI Outdoor Expandable Walk-In Storage Cooler / Cooler Floorless
cci out ewis | cci_Leer | CCI Outdoor Expandable Walk-In Storage Cooler / Floorless
cci out ewis flr | cci_Leer | CCI Outdoor Expandable Walk-In Storage Cooler / With"sulated Floor
cci out c/c combo flr throughout | cci_Leer | CCI Outdoor Expandable Walk-In Storage Cooler/Cooler Combo Floor throughout
cci out c/f combo | cci_Leer | CCI Outdoor Expandable Walk-In Storage Cooler/Freezer Combo
cci out c/f combo flr throughout | cci_Leer | CCI Outdoor Expandable Walk-In Storage Cooler/Freezer Combo, Floor Throughout
cci out c/f combo flrless throughout | cci_Leer | CCI Outdoor Expandable Walk-In Storage Cooler/Freezer Combo, Floorless
cci out ewif flr | cci_Leer | CCI Outdoor Expandable Walk-In Storage Freezer with Floor
cci out ewif no flr | cci_Leer | CCI Outdoor Expandable Walk-In Storage Freezer/Floorless
cci clr acess dr | cci_Leer | Retro Fit Flat Face Frame Cooler Access Door-CCI
cci frz access dr | cci_Leer | Retro Fit Flat Face Frame Freezer Access Door-CCI

## Cooler BTU Load
cooler | coolerBoxSize | coolerBTU | referModelNumber | evapCoil | qtyEvapCoil | referSysTotalCost | btu448A
TRUE | 6x6 | 5198 | TS006MR404A2-T | ADR060AENM | 1 | 2929 | 6998
TRUE | 6x8 | 5955 | TS006MR404A2-T | ADR060AENM | 1 | 2929 | 6998
TRUE | 6x10 | 6677 | TS008MR404A2-T | ADR089AENM | 1 | 3132 | 9404
TRUE | 6x12 | 7376 | TS008MR404A2-T | ADR089AENM | 1 | 3132 | 9404
TRUE | 6x14 | 8057 | TS010MR404A2-T | ADR112AENM | 1 | 3426 | 9888
TRUE | 6x16 | 8725 | TS010MR404A2-T | ADR112AENM | 1 | 3426 | 9888
TRUE | 6x18 | 9380 | TS010MR404A2-T | ADR112AENM | 1 | 3426 | 9888
TRUE | 6x20 | 10026 | TS015MR404A2-T | LED081BENM | 1 | 3864 | 13981
TRUE | 8x8 | 6876 | TS008MR404A2-T | ADR089AENM | 1 | 3132 | 9404
TRUE | 8x10 | 7758 | TS008MR404A2-T | ADR089AENM | 1 | 3132 | 9404
TRUE | 8x12 | 8614 | TS010MR404A2-T | ADR112AENM | 1 | 3426 | 9888
TRUE | 8x14 | 9449 | TS010MR404A2-T | ADR112AENM | 1 | 3426 | 9888
TRUE | 8x16 | 10099 | TS015MR404A2-T | ADR125AENM | 1 | 3746 | 13981
TRUE | 8x18 | 10884 | TS015MR404A2-T | ADR125AENM | 1 | 3746 | 13981
TRUE | 8x20 | 11658 | TS015MR404A2-T | ADR125AENM | 1 | 3746 | 13981
TRUE | 10x10 | 8796 | TS010MR404A2-T | ADR112AENM | 1 | 3426 | 9888
TRUE | 10x12 | 9805 | TS010MR404A2-T | ADR112AENM | 1 | 3426 | 9888
TRUE | 10x14 | 10606 | TS015MR404A2-T | ADR125AENM | 1 | 3746 | 13981
TRUE | 10x16 | 11547 | TS015MR404A2-T | ADR125AENM | 1 | 3746 | 13981
TRUE | 10x18 | 12475 | TS015MR404A2-T | ADR125AENM | 1 | 3746 | 13981
TRUE | 10x20 | 13390 | TS020MR404A2-T | ADR137AENM | 1 | 3956 | 16540
TRUE | 12x12 | 10773 | TS015MR404A2-T | ADR125AENM | 1 | 3746 | 13981
TRUE | 12x14 | 11876 | TS015MR404A2-T | ADR125AENM | 1 | 3746 | 13981
TRUE | 12x16 | 12959 | TS015MR404A2-T | ADR125AENM | 1 | 3746 | 13981
TRUE | 12x18 | 14027 | TS020MR404A2-T | ADR137AENM | 1 | 3956 | 16540
TRUE | 12x20 | 15082 | TS020MR404A2-T | ADR137AENM | 1 | 3956 | 16540

## Freezer BTU Load
freezer | freezerBoxSize | freezerBTU | referModelNumber | evapCoil | qtyEvapCoil | referSysTotalCost | btu448A
TRUE | 6x6 | 6097 | TS020XR404A2 | LED081BENM | 1 | 4344 | 6720
TRUE | 6x8 | 6863 | TS025XR404A2 | LED090BENM | 1 | 4655 | 8445
TRUE | 6x10 | 7593 | TS025XR404A2 | LED090BENM | 1 | 4655 | 8445
TRUE | 6x12 | 8295 | TS025XR404A2 | LED090BENM | 1 | 4655 | 8445
TRUE | 6x14 | 8978 | TS030XR404A2 | LED114BENM | 1 | 4899 | 9032
TRUE | 6x16 | 9646 | TS035XR404A2 | LED124BENM | 1 | 5415 | 10930
TRUE | 6x18 | 10301 | TS045XR404A2 | LED157BENM | 1 | 5878 | 13490
TRUE | 6x20 | 10945 | TS045XR404A2 | LED157BENM | 1 | 5878 | 13490
TRUE | 8x8 | 7772 | TS025XR404A2 | LED090BENM | 1 | 4655 | 8445
TRUE | 8x10 | 8638 | TS030XR404A2 | LED114BENM | 1 | 4899 | 9032
TRUE | 8x12 | 9473 | TS035XR404A2 | LED124BENM | 1 | 5415 | 10930
TRUE | 8x14 | 10287 | TS045XR404A2 | LED157BENM | 1 | 5878 | 13490
TRUE | 8x16 | 10932 | TS045XR404A2 | LED157BENM | 1 | 5878 | 13490
TRUE | 8x18 | 11695 | TS045XR404A2 | LED157BENM | 1 | 5878 | 13490
TRUE | 8x20 | 12446 | TS045XR404A2 | LED157BENM | 1 | 5878 | 13490
TRUE | 10x10 | 9636 | TS035XR404A2 | LED124BENM | 1 | 5415 | 10930
TRUE | 10x12 | 10600 | TS045XR404A2 | LED157BENM | 1 | 5878 | 13490
TRUE | 10x14 | 11376 | TS045XR404A2 | LED157BENM | 1 | 5878 | 13490
TRUE | 10x16 | 12273 | TS045XR404A2 | LED157BENM | 1 | 5878 | 13490
TRUE | 10x18 | 13155 | TS055XR404A2 | LED176BENM | 1 | 6247 | 16245
TRUE | 10x20 | 14023 | TS055XR404A2 | LED176BENM | 1 | 6247 | 16245
TRUE | 12x12 | 11523 | TS045XR404A2 | LED157BENM | 1 | 5878 | 13490
TRUE | 12x14 | 12559 | TS045XR404A2 | LED157BENM | 1 | 5878 | 13490
TRUE | 12x16 | 13573 | TS055XR404A2 | LED176BENM | 1 | 6247 | 16245
TRUE | 12x18 | 14571 | TS055XR404A2 | LED176BENM | 1 | 6247 | 16245
TRUE | 12x20 | 15554 | TS055XR404A2 | LED176BENM | 1 | 6247 | 16245

## Refer
isActive | boxType | referBrand | horsePower | referModelNumber | evapCoil | qtyEvapCoil | referSysTotalCost | btu448A
TRUE | cooler | Turbo Air | 0.5 | TS006MR404A2-T | ADR060AENM | 1 | 2929 | 6998
TRUE | cooler | Turbo Air | 0.75 | TS008MR404A2-T | ADR089AENM | 1 | 3132 | 9404
TRUE | cooler | Turbo Air | 0.75 | TS008MR404A2-T | LED052BENM | 1 | 3377 | 9404
TRUE | cooler | Turbo Air | 1 | TS010MR404A2-T | ADR112AENM | 1 | 3426 | 9888
TRUE | cooler | Turbo Air | 1 | TS010MR404A2-T | LED072BENM | 1 | 3632 | 9888
TRUE | cooler | Turbo Air | 1.5 | TS015MR404A2-T | ADR060AENX | 2 | 4075 | 13981
TRUE | cooler | Turbo Air | 1.5 | TS015MR404A2-T | ADR125AENM | 1 | 3746 | 13981
TRUE | cooler | Turbo Air | 1.5 | TS015MR404A2-T | LED081BENM | 1 | 3864 | 13981
TRUE | cooler | Turbo Air | 1.5 | TS015MR404A3-T | ADR060AENX | 2 | 4131 | 13981
TRUE | cooler | Turbo Air | 1.5 | TS015MR404A3-T | ADR125AENM | 1 | 3802 | 13981
TRUE | cooler | Turbo Air | 1.5 | TS015MR404A3-T | LED081BENM | 1 | 3920 | 13981
TRUE | cooler | Turbo Air | 2 | TS020MR404A2-T | ADR137AENM | 1 | 3956 | 16540
TRUE | cooler | Turbo Air | 2 | TS020MR404A2-T | ADR089AENX | 2 | 4330 | 16540
TRUE | cooler | Turbo Air | 2 | TS020MR404A2-T | LED114BENM | 1 | 4380 | 16540
TRUE | cooler | Turbo Air | 2 | TS020MR404A3-T | ADR137AENM | 1 | 3987 | 16540 | cooler | coolerBoxSize | coolerBTU | freezer | freezerBoxSize | freezerBTU
TRUE | cooler | Turbo Air | 2 | TS020MR404A3-T | ADR089AENX | 2 | 4361 | 16540 | TRUE | 6x6 | 5198 | TRUE | 6x6 | 6097
TRUE | cooler | Turbo Air | 2 | TS020MR404A3-T | LED114BENM | 1 | 4411 | 16540 | TRUE | 6x8 | 5955 | TRUE | 6x8 | 6863
TRUE | cooler | Turbo Air | 2.5 | TS025MR404A2-T | ADR171AENM | 1 | 4251 | 18163 | TRUE | 6x10 | 6677 | TRUE | 6x10 | 7593
TRUE | cooler | Turbo Air | 2.5 | TS025MR404A2-T | ADR112AENX | 2 | 4644 | 18163 | TRUE | 6x12 | 7376 | TRUE | 6x12 | 8295
TRUE | cooler | Turbo Air | 2.5 | TS025MR404A2-T | LED124BENM | 1 | 4756 | 18163 | TRUE | 6x14 | 8057 | TRUE | 6x14 | 8978
TRUE | cooler | Turbo Air | 2.5 | TS025MR404A3-T | ADR171AENM | 1 | 4276 | 18163 | TRUE | 6x16 | 8725 | TRUE | 6x16 | 9646
TRUE | cooler | Turbo Air | 2.5 | TS025MR404A3-T | ADR112AENX | 2 | 4669 | 18163 | TRUE | 6x18 | 9380 | TRUE | 6x18 | 10301
TRUE | cooler | Turbo Air | 2.5 | TS025MR404A3-T | LED124BENM | 1 | 4781 | 18163 | TRUE | 6x20 | 10026 | TRUE | 6x20 | 10945
TRUE | cooler | Turbo Air | 3 | TS030MR404A2-T | ADR258AENM | 1 | 4681 | 26470 | TRUE | 8x8 | 6876 | TRUE | 8x8 | 7772
TRUE | cooler | Turbo Air | 3 | TS030MR404A2-T | ADR125AENX | 2 | 5115 | 26470 | TRUE | 8x10 | 7758 | TRUE | 8x10 | 8638
TRUE | cooler | Turbo Air | 3 | TS030MR404A2-T | LED176BENM | 1 | 5159 | 26470 | TRUE | 8x12 | 8614 | TRUE | 8x12 | 9473
TRUE | cooler | Turbo Air | 3 | TS030MR404A3-T | ADR258AENM | 1 | 4727 | 26470 | TRUE | 8x14 | 9449 | TRUE | 8x14 | 10287
TRUE | cooler | Turbo Air | 3 | TS030MR404A3-T | ADR125AENX | 2 | 5161 | 26470 | TRUE | 8x16 | 10099 | TRUE | 8x16 | 10932
TRUE | cooler | Turbo Air | 3 | TS030MR404A3-T | LED176BENM | 1 | 5205 | 26470 | TRUE | 8x18 | 10884 | TRUE | 8x18 | 11695
TRUE | cooler | Turbo Air | 4 | TS040MR404A2-T | ADR325AENM | 1 | 5500 | 34140 | TRUE | 8x20 | 11658 | TRUE | 8x20 | 12446
TRUE | cooler | Turbo Air | 4 | TS040MR404A2-T | ADR137AENX | 2 | 5810 | 34140 | TRUE | 10x10 | 8796 | TRUE | 10x10 | 9636
TRUE | cooler | Turbo Air | 4 | TS040MR404A2-T | ADR089AENX | 3 | 5839 | 34140 | TRUE | 10x12 | 9805 | TRUE | 10x12 | 10600
TRUE | cooler | Turbo Air | 4 | TS040MR404A2-T | LED225BENM | 1 | 5853 | 34140 | TRUE | 10x14 | 10606 | TRUE | 10x14 | 11376
TRUE | cooler | Turbo Air | 4 | TS040MR404A3-T | ADR325AENM | 1 | 5356 | 34140 | TRUE | 10x16 | 11547 | TRUE | 10x16 | 12273
TRUE | cooler | Turbo Air | 4 | TS040MR404A3-T | ADR137AENX | 2 | 5666 | 34140 | TRUE | 10x18 | 12475 | TRUE | 10x18 | 13155
TRUE | cooler | Turbo Air | 4 | TS040MR404A3-T | ADR089AENX | 3 | 5695 | 34140 | TRUE | 10x20 | 13390 | TRUE | 10x20 | 14023
TRUE | cooler | Turbo Air | 4 | TS040MR404A3-T | LED225BENM | 1 | 5709 | 34140 | TRUE | 12x12 | 10773 | TRUE | 12x12 | 11523
TRUE | cooler | Turbo Air | 5 | TS050MR404A2-T | ADR392AENM | 1 | 6086 | 42347 | TRUE | 12x14 | 11876 | TRUE | 12x14 | 12559
TRUE | cooler | Turbo Air | 5 | TS050MR404A2-T | ADR171AENX | 2 | 6343 | 42347 | TRUE | 12x16 | 12959 | TRUE | 12x16 | 13573
TRUE | cooler | Turbo Air | 5 | TS050MR404A2-T | ADR137AENX | 3 | 7035 | 42347 | TRUE | 12x18 | 14027 | TRUE | 12x18 | 14571
TRUE | cooler | Turbo Air | 5 | TS050MR404A2-T | LED273BENM | 1 | 6544 | 42347 | TRUE | 12x20 | 15082 | TRUE | 12x20 | 15554
TRUE | cooler | Turbo Air | 5 | TS050MR404A2-T | LED124BENX | 2 | 7353 | 42347
TRUE | cooler | Turbo Air | 5 | TS050MR404A3-T | ADR392AENM | 1 | 6042 | 42347
TRUE | cooler | Turbo Air | 5 | TS050MR404A3-T | ADR171AENX | 2 | 6299 | 42347
TRUE | cooler | Turbo Air | 5 | TS050MR404A3-T | ADR137AENX | 3 | 6097.5 | 42347
TRUE | cooler | Turbo Air | 5 | TS050MR404A3-T | LED273BENM | 1 | 6500 | 42347
TRUE | cooler | Turbo Air | 5 | TS050MR404A3-T | LED124BENX | 2 | 7309 | 42347
TRUE | cooler | Turbo Air | 6 | TS060MR404A3-T | ADR191AENX | 2 | 7126 | 50513
TRUE | cooler | Turbo Air | 6 | TS060MR404A3-T | ADR137AENX | 3 | 7694 | 50513
TRUE | cooler | Turbo Air | 6 | TS060MR404A3-T | LED176BENX | 2 | 8440 | 50513
TRUE | cooler | Turbo Air | 7.5 | TS075MR404A3-T | ADR258AENX | 2 | 10871 | 73100
TRUE | cooler | Turbo Air | 7.5 | TS075MR404A3-T | ADR171AENX | 3 | 11774 | 73100
TRUE | cooler | Turbo Air | 7.5 | TS075MR404A3-T | LED
TRUE | cooler | Turbo Air | 10 | TS100MR404A3-T | ADR352AENX | 3 | 16515 | 96333
TRUE | cooler | Turbo Air | 10 | TS100MR404A3-T | LED
TRUE | freezer | Turbo Air | 1 | TS010XR404A2 | LED052BENM | 1 | 4068 | 4270
TRUE | freezer | Turbo Air | 1.5 | TS015XR404A2 | LED072BENM | 1 | 4264 | 5746
TRUE | freezer | Turbo Air | 1.5 | TS015XR404A3 | LED072BENM | 1 | 4255 | 5746
TRUE | freezer | Turbo Air | 2 | TS020XR404A2 | LED081BENM | 1 | 4344 | 6720
TRUE | freezer | Turbo Air | 2 | TS020XR404A2 | LED036BENX | 2 | 4793 | 6720
TRUE | freezer | Turbo Air | 2 | TS020XR404A3 | LED081BENM | 1 | 4344 | 6720
TRUE | freezer | Turbo Air | 2 | TS020XR404A3 | LED036BENX | 2 | 4793 | 6720
TRUE | freezer | Turbo Air | 2.5 | TS025XR404A2 | LED090BENM | 1 | 4655 | 8445
TRUE | freezer | Turbo Air | 2.5 | TS025XR404A2 | LED052BENX | 2 | 5285 | 8445
TRUE | freezer | Turbo Air | 2.5 | TS025XR404A3 | LED090BENM | 1 | 4655 | 8445
TRUE | freezer | Turbo Air | 2.5 | TS025XR404A3 | LED052BENX | 2 | 5285 | 8445
TRUE | freezer | Turbo Air | 3 | TS030XR404A2 | LED114BENM | 1 | 4899 | 9032
TRUE | freezer | Turbo Air | 3 | TS030XR404A2 | LED052BENX | 2 | 5369 | 9032
TRUE | freezer | Turbo Air | 3 | TS030XR404A3 | LED114BENM | 1 | 4899 | 9032
TRUE | freezer | Turbo Air | 3 | TS030XR404A3 | LED052BENX | 2 | 5369 | 9032
TRUE | freezer | Turbo Air | 3.5 | TS035XR404A2 | LED124BENM | 1 | 5415 | 10930
TRUE | freezer | Turbo Air | 3.5 | TS035XR404A2 | LED072BENX | 2 | 5573 | 10930
TRUE | freezer | Turbo Air | 3.5 | TS035XR404A3 | LED124BENM | 1 | 5415 | 10930
TRUE | freezer | Turbo Air | 3.5 | TS035XR404A3 | LED072BENX | 2 | 5573 | 10930
TRUE | freezer | Turbo Air | 4.5 | TS045XR404A2 | LED157BENM | 1 | 5878 | 13490
TRUE | freezer | Turbo Air | 4.5 | TS045XR404A2 | LED072BENX | 2 | 6065 | 13490
TRUE | freezer | Turbo Air | 4.5 | TS045XR404A3 | LED157BENM | 1 | 5878 | 13490
TRUE | freezer | Turbo Air | 4.5 | TS045XR404A3 | LED072BENX | 2 | 6065 | 13490
TRUE | freezer | Turbo Air | 5.5 | TS055XR404A2 | LED176BENM | 1 | 6247 | 16245
TRUE | freezer | Turbo Air | 5.5 | TS055XR404A2 | LED081BENX | 2 | 6469 | 16245
TRUE | freezer | Turbo Air | 5.5 | TS055XR404A3 | LED176BENM | 1 | 6247 | 16245
TRUE | freezer | Turbo Air | 5.5 | TS055XR404A3 | LED081BENX | 2 | 6469 | 16245
TRUE | freezer | Turbo Air | 6 | TS060XR404A3 | LED225BENM | 1 | 6645 | 19880
TRUE | freezer | Turbo Air | 6 | TS060XR404A3 | LED114BENX | 2 | 7480 | 19880
TRUE | freezer | Turbo Air | 7.5 | TS075XR404A3 | LED244BENM | 1 | 10118 | 24460
TRUE | freezer | Turbo Air | 7.5 | TS075XR404A3 | LED124BENX | 2 | 11300 | 24460
TRUE | freezer | Turbo Air | 10 | TS100XR404A3 | LED273BENM | 1 | 12039 | 31540
TRUE | freezer | Turbo Air | 10 | TS100XR404A3 | LED157BENX | 2 | 13164 | 31540
TRUE | cooler | ABCO | 0.5 | BCH0005MBACZA0100 | BEL0060AS6AMAB0400 | 1 | 3193 | 6348
TRUE | cooler | ABCO | 0.75 | BCH0008MBACZA0100 | BEL0095AS6AMAB0400 | 1 | 3654 | 7729
TRUE | cooler | ABCO | 1 | BCH0009MBACZA0100 | BEL0095AS6AMAB0400 | 1 | 3765 | 9110
TRUE | cooler | ABCO | 1 | BCH0010MBACZA0100 | BEL0105AS6AMAB0400 | 1 | 3963 | 9212
TRUE | cooler | ABCO | 1 | BCH0010MCACZA0100 | BEL0105AS6AMAB0400 | 1 | 3955 | 9212
TRUE | cooler | ABCO | 1.5 | BCH0015MBACZA0100 | BEL0155AS6AMAB0400 | 1 | 4242 | 12860
TRUE | cooler | ABCO | 1.5 | BCH0015MCACZA0100 | BEL0155AS6AMAB0400 | 1 | 4625 | 12860
TRUE | cooler | ABCO | 2 | BCH0020MBACZA0100 | BEL0190AS6AMAB0400 | 1 | 4861 | 15388
TRUE | cooler | ABCO | 2 | BCH0020MCACZA0100 | BEL0190AS6AMAB0400 | 1 | 4881 | 15388
TRUE | cooler | ABCO | 2.5 | BCH0025MBACZA0100 | BEL0250AS6AMAB0400 | 1 | 5180 | 17183
TRUE | cooler | ABCO | 2.5 | BCH0025MCACZA0100 | BEL0250AS6AMAB0400 | 1 | 5219 | 17183
TRUE | cooler | ABCO | 3 | BCH0030MBACZA0100 | BEL0295AS6AMAB0400 | 1 | 5869 | 25779
TRUE | cooler | ABCO | 3 | BCH0030MCACZA0100 | BEL0295AS6AMAB0400 | 1 | 5924 | 25779
TRUE | cooler | ABCO | 3.5 | BCH0035MBACZA0100 | BEL0295AS6AMAB0400 | 1 | 6181 | 30406
TRUE | cooler | ABCO | 3.5 | BCH0035MCACZA0100 | BEL0295AS6AMAB0400 | 1 | 6235 | 30406
TRUE | cooler | ABCO | 4.5 | BCH0045MBACZA0100 | BEL0350AS6AMAB0400 | 1 | 6696 | 31562
TRUE | cooler | ABCO | 4.5 | BCH0045MCACZA0100 | BEL0350AS6AMAB0400 | 1 | 6627 | 31562
TRUE | cooler | ABCO | 5 | BCH0050MBACZA0100 | BEL0380AS6AMAB0400 | 1 | 7288 | 35366
TRUE | cooler | ABCO | 5 | BCH0050MCACZA0100 | BEL0380AS6AMAB0400 | 1 | 7213 | 35366
TRUE | cooler | ABCO | 5.5 | BCH0055MBACZA0100 | BEL0380AS6AMAB0400 | 1 | 7453 | 39296
TRUE | cooler | ABCO | 5.5 | BCH0055MCACZA0100 | BEL0380AS6AMAB0400 | 1 | 7509 | 39296
TRUE | cooler | ABCO | 5.5 | BCH0055MBACZA0100 | BEL0190AS6AMAB0400 | 2 | 6032
TRUE | cooler | ABCO | 5.5 | BCH0055MCACZA0100 | BEL0190AS6AMAB0400 | 2 | 6088
TRUE | cooler | ABCO | 6 | BCH0060MCACZA0100 | BEL0250AS6AMAB0400 | 2 | 6825 | 45706
TRUE | freezer | ABCO | 1 | BCH0008LBACZA0200 | BEL0045BS6EMAB0400 | 1 | 3901 | 3654
TRUE | freezer | ABCO | 1 | BCH0010LBACZA0200 | BEL0065BS6EMAB0400 | 1 | 4158 | 4165
TRUE | freezer | ABCO | 1 | BCH0010LCACZA0200 | BEL0065BS6EMAB0400 | 1 | 4197 | 4165
TRUE | freezer | ABCO | 2 | BCH0022LBACZA0200 | BEL0080BS6EMAB0400 | 1 | 4495 | 6502
TRUE | freezer | ABCO | 2 | BCH0022LCACZA0200 | BEL0080BS6EMAB0400 | 1 | 4537 | 6502
TRUE | freezer | ABCO | 2.5 | BCH0025LBACZA0200 | BEL0100BS6EMAB0400 | 1 | 4923 | 8156
TRUE | freezer | ABCO | 2.5 | BCH0025LCACZA0200 | BEL0100BS6EMAB0400 | 1 | 4977 | 8156
TRUE | freezer | ABCO | 3 | BCH0030LBACZA0200 | BEL0130BS6EMAB0400 | 1 | 5416 | 8803
TRUE | freezer | ABCO | 3 | BCH0030LCACZA0200 | BEL0130BS6EMAB0400 | 1 | 5475 | 8803
TRUE | freezer | ABCO | 3.5 | BCH0035LBACZA0200 | BEL0155BS6EMAB0400 | 1 | 5932 | 10761
TRUE | freezer | ABCO | 3.5 | BCH0035LCACZA0200 | BEL0155BS6EMAB0400 | 1 | 5986 | 10761
TRUE | freezer | ABCO | 4 | BCH0045LBACZA0300 | BEL0170BS6EMAB0400 | 1 | 6750 | 13190
TRUE | freezer | ABCO | 4 | BCH0045LCACZA0300 | BEL0170BS6EMAB0400 | 1 | 6804 | 13190
TRUE | freezer | ABCO | 5 | BCH0055LBACZA0300 | BEL0240BS6EMAB0400 | 1 | 7427 | 16016
TRUE | freezer | ABCO | 5 | BCH0055LCACZA0300 | BEL0240BS6EMAB0400 | 1 | 7490 | 16016
TRUE | freezer | ABCO | 6 | BCH0060LCACZA0300 | BEL0255CS6EMAB0400 | 1 | 6945 | 18813

## Anthony 401NT Doors
anthonyHeatedDoor | DoorModelNumber | QtyOfDoors | thirtyInchCoolerDisplayDoorOverallDimension | thirtyInchCoolerDisplayNetOpening | DoorTotalCost
FALSE | No Cooler Display Doors | 0 | 0 | 0 | 0
FALSE | 401W Normal Temp Cooler Doors 30x79-LED | 1 | 3' 6-13/16" | 2' 7-13/16" | 856
FALSE | 401W Normal Temp Cooler Doors 30x79-LED | 2 | 6' 1/4" | 5' 2-1/4" | 1712
FALSE | 401W Normal Temp Cooler Doors 30x79-LED | 3 | 8' 7-11/16" | 7' 8-11/16" | 2568
FALSE | 401W Normal Temp Cooler Doors 30x79-LED | 4 | 11' 2-1/8" | 10' 3-1/8" | 3424
FALSE | 401W Normal Temp Cooler Doors 30x79-LED | 5 | 13' 8-9/16" | 12' 9-9/16" | 4280
FALSE | 401W Normal Temp Cooler Doors 30x79-LED | 6 | 16' 4-1/8" | 15' 5-1/8" | 5136
FALSE | 401W Normal Temp Cooler Doors 30x79-LED | 7 | 18' 10-9/16" | 17' 11-9/16" | 5992
FALSE | 401W Normal Temp Cooler Doors 30x79-LED | 8 | 21' 5" | 20' 6" | 6848
FALSE | 401W Normal Temp Cooler Doors 30x79-LED | 9 | 23' 11-7/16" | 23' 0-7/16" | 7704
FALSE | 401W Normal Temp Cooler Doors 30x79-LED | 10 | 26' 5-7/8" | 25' 6-7/8" | 8560
FALSE | 401W Normal Temp Cooler Doors 30x79-LED | 11 | 29' 1-7/16" | 28' 2-7/16" | 9416
FALSE | 401W Normal Temp Cooler Doors 30x79-LED | 12 | 31' 7-7/8" | 30' 8-7/8" | 10272
FALSE | 401W Normal Temp Cooler Doors 30x79-LED | 13 | 34' 2-5/16" | 33' 3-5/16" | 11128
FALSE | 401W Normal Temp Cooler Doors 30x79-LED | 14 | 36' 8-3/4" | 35' 9-3/4" | 11984
FALSE | 401W Normal Temp Cooler Doors 30x79-LED | 15 | 39' 3-3/16" | 38' 4-3/16" | 12840
FALSE | 401W Normal Temp Cooler Doors 30x79-LED | 16 | 41' 10-3/4" | 40' 11-3/4" | 13696
FALSE | 401W Normal Temp Cooler Doors 30x79-LED | 17 | 44' 5-3/16" | 43' 6-3/16" | 14552
FALSE | 401W Normal Temp Cooler Doors 30x79-LED | 18 | 46' 11-5/8" | 46' 0-5/8" | 15408
FALSE | 401W Normal Temp Cooler Doors 30x79-LED | 19 | 49' 6-1/16" | 48' 7-1/16" | 16264
FALSE | 401W Normal Temp Cooler Doors 30x79-LED | 20 | 52' 1/2". | 51' 1-1/2" | 17120
FALSE | 401W Normal Temp Cooler Doors 30x79-LED | 21 | 54' 8-1/16" | 53' 9-1/16" | 17976
FALSE | 401W Normal Temp Cooler Doors 30x79-LED | 22 | 57' 2-1/2" | 56' 3-1/2" | 18832
FALSE | 401W Normal Temp Cooler Doors 30x79-LED | 23 | 59' 8-15/16" | 58' 9-15/16" | 19688
FALSE | 401W Normal Temp Cooler Doors 30x79-LED | 24 | 62' 3-3/8" | 61' 4-3/8" | 20544
FALSE | 401W Normal Temp Cooler Doors 30x79-LED | 25 | 64' 9-13/16" | 63' 10-13/16" | 21400
FALSE | 401W Normal Temp Cooler Doors 30x79-LED | 26 | 67' 5-3/8" | 66' 6-3/8" | 22256
FALSE | 401W Normal Temp Cooler Doors 30x79-LED | 27 | 69' 11-13/16" | 69' 0-13/16" | 23112
FALSE | 401W Normal Temp Cooler Doors 30x79-LED | 28 | 72' 6-1/4" | 71' 7-1/4" | 23968
FALSE | 401W Normal Temp Cooler Doors 30x79-LED | 29 | 75' 11/16". | 74' 1-11/16" | 24824
FALSE | 401W Normal Temp Cooler Doors 30x79-LED | 30 | 77' 7-1/8" | 76' 8-1/8" | 25680

## Anthony 403NT Doors
anthonyHeatedDoor | DoorModelNumber | QtyOfDoors | anthonyCoolerPassThruNetOpeningDoorDimension | DoorTotalCost
FALSE | No Cooler Pass Thru Doors | 0 | 0 | 0
FALSE | 403W Normal Temp Pass Thru Cooler Door 36x81 | 1 | 3' 1-3/8" | 1039
FALSE | 403W Normal Temp Pass Thru Cooler Door 36x81 | 2 | 6' 1-3/8" | 2078

## Anthony 401LT Doors
anthonyHeatedDoor | DoorModelNumber | QtyOfDoors | thirtyInchFreezerDisplayDoorOverallDimension | thirtyInchFreezerDisplayNetOpening | DoorTotalCost
TRUE | No Freezer Display Doors | 0 | 0 | 0 | 0
TRUE | 401W Low Temp Freezer Doors 30x79-LED | 1 | 3' 9-13/16" | 2' 7-13/16" | 1054
TRUE | 401W Low Temp Freezer Doors 30x79-LED | 2 | 6' 4-1/4" | 5' 2-1/4" | 2108
TRUE | 401W Low Temp Freezer Doors 30x79-LED | 3 | 8' 10-11/16" | 7' 8-11/16" | 3162
TRUE | 401W Low Temp Freezer Doors 30x79-LED | 4 | 11' 5-1/8" | 10' 3-1/8" | 4216
TRUE | 401W Low Temp Freezer Doors 30x79-LED | 5 | 13' 11-9/16" | 12' 9-9/16" | 5270
TRUE | 401W Low Temp Freezer Doors 30x79-LED | 6 | 16' 7-1/8" | 15' 5-1/8" | 6324
TRUE | 401W Low Temp Freezer Doors 30x79-LED | 7 | 19' 1-9/16" | 17' 11-9/16" | 7378
TRUE | 401W Low Temp Freezer Doors 30x79-LED | 8 | 21' 8" | 20' 6" | 8432
TRUE | 401W Low Temp Freezer Doors 30x79-LED | 9 | 24' 2-7/16" | 23' 0-7/16" | 9486
TRUE | 401W Low Temp Freezer Doors 30x79-LED | 10 | 26' 8-7/8" | 25' 6-7/8" | 10540
TRUE | 401W Low Temp Freezer Doors 30x79-LED | 11 | 29' 4-7/16" | 28' 2-7/16" | 11594
TRUE | 401W Low Temp Freezer Doors 30x79-LED | 12 | 31' 10-7/8" | 30' 8-7/8" | 12648
TRUE | 401W Low Temp Freezer Doors 30x79-LED | 13 | 34' 5-5/16" | 33' 3-5/16" | 13702
TRUE | 401W Low Temp Freezer Doors 30x79-LED | 14 | 36' 11-3/4" | 35' 9-3/4" | 14756
TRUE | 401W Low Temp Freezer Doors 30x79-LED | 15 | 39' 6-3/16" | 38' 4-3/16" | 15810
TRUE | 401W Low Temp Freezer Doors 30x79-LED | 16 | 42' 1-3/4" | 40' 11-3/4" | 16864
TRUE | 401W Low Temp Freezer Doors 30x79-LED | 17 | 44' 8-3/16" | 43' 6-3/16" | 17918
TRUE | 401W Low Temp Freezer Doors 30x79-LED | 18 | 47' 2-5/8" | 46' 0-5/8" | 18972
TRUE | 401W Low Temp Freezer Doors 30x79-LED | 19 | 49' 9-1/16" | 48' 7-1/16" | 20026
TRUE | 401W Low Temp Freezer Doors 30x79-LED | 20 | 52' 3-1/2" | 51' 1-1/2" | 21080
TRUE | 401W Low Temp Freezer Doors 30x79-LED | 21 | 54' 11-1/16" | 53' 9-1/16" | 22134
TRUE | 401W Low Temp Freezer Doors 30x79-LED | 22 | 57' 5-1/2" | 56' 3-1/2" | 23188
TRUE | 401W Low Temp Freezer Doors 30x79-LED | 23 | 59' 11-15/16" | 58' 9-15/16" | 24242
TRUE | 401W Low Temp Freezer Doors 30x79-LED | 24 | 62' 6-3/8" | 61' 4-3/8" | 25296
TRUE | 401W Low Temp Freezer Doors 30x79-LED | 25 | 65' 13/16". | 63' 10-13/16" | 26350
TRUE | 401W Low Temp Freezer Doors 30x79-LED | 26 | 67' 8-3/8" | 66' 6-3/8" | 27404
TRUE | 401W Low Temp Freezer Doors 30x79-LED | 27 | 70' 2-13/16" | 69' 0-13/16" | 28458
TRUE | 401W Low Temp Freezer Doors 30x79-LED | 28 | 72' 9-1/4" | 71' 7-1/4" | 29512
TRUE | 401W Low Temp Freezer Doors 30x79-LED | 29 | 75' 3-11/16" | 74' 1-11/16" | 30566
TRUE | 401W Low Temp Freezer Doors 30x79-LED | 30 | 77' 10-1/8" | 76' 8-1/8" | 31620

## DDS 1200HH Doors
ddsHeatedDoor | DoorModelNumber | QtyOfDoors | thirtyInchCoolerDisplayDoorOverallDimension | thirtyInchCoolerDisplayNetOpening | DoorTotalCost
TRUE | No Cooler Display Doors | 0 | 0 | 0 | 0
TRUE | DDS-A 1200E Cooler Door NT High Humidity 30x79-LED | 1 | 3' 6-15/16" | 2' 7-15/16" | 925
TRUE | DDS-A 1200E Cooler Door NT High Humidity 30x79-LED | 2 | 6' 1-7/16" | 5' 2-7/16" | 1850
TRUE | DDS-A 1200E Cooler Door NT High Humidity 30x79-LED | 3 | 8' 7-13/16" | 7' 8-13/16" | 2775
TRUE | DDS-A 1200E Cooler Door NT High Humidity 30x79-LED | 4 | 11' 2-1/16" | 10' 3-1/16" | 3700
TRUE | DDS-A 1200E Cooler Door NT High Humidity 30x79-LED | 5 | 13' 8-7/16" | 12' 9-7/16" | 4625
TRUE | DDS-A 1200E Cooler Door NT High Humidity 30x79-LED | 6 | 16' 4-3/16" | 15' 5-3/16" | 5550
TRUE | DDS-A 1200E Cooler Door NT High Humidity 30x79-LED | 7 | 18' 10-9/16" | 17' 11-9/16" | 6475
TRUE | DDS-A 1200E Cooler Door NT High Humidity 30x79-LED | 8 | 22' 4-15/16" | 20' 5-15/16" | 7400
TRUE | DDS-A 1200E Cooler Door NT High Humidity 30x79-LED | 9 | 23' 11-5/16" | 23' 5/16" | 8325
TRUE | DDS-A 1200E Cooler Door NT High Humidity 30x79-LED | 10 | 26' 5-9/16" | 25' 6-9/16" | 9250
TRUE | DDS-A 1200E Cooler Door NT High Humidity 30x79-LED | 11 | 29' 1-5/16" | 28' 2-5/16" | 10175
TRUE | DDS-A 1200E Cooler Door NT High Humidity 30x79-LED | 12 | 31' 7-11/16" | 30' 8-11/16" | 11100
TRUE | DDS-A 1200E Cooler Door NT High Humidity 30x79-LED | 13 | 34' 2-1/16" | 33' 3-1/16" | 12025
TRUE | DDS-A 1200E Cooler Door NT High Humidity 30x79-LED | 14 | 36' 8-7/16" | 35' 9-7/16" | 12950
TRUE | DDS-A 1200E Cooler Door NT High Humidity 30x79-LED | 15 | 39' 2-11/16" | 38' 3-11/16" | 13875
TRUE | DDS-A 1200E Cooler Door NT High Humidity 30x79-LED | 16 | 41' 10-9/16" | 40' 11-9/16" | 14800
TRUE | DDS-A 1200E Cooler Door NT High Humidity 30x79-LED | 17 | 44' 4-13/16" | 43' 5-13/16" | 15725
TRUE | DDS-A 1200E Cooler Door NT High Humidity 30x79-LED | 18 | 46' 11-3/16" | 46' 3/16" | 16650
TRUE | DDS-A 1200E Cooler Door NT High Humidity 30x79-LED | 19 | 49' 5-9/16" | 48' 6-9/16" | 17575
TRUE | DDS-A 1200E Cooler Door NT High Humidity 30x79-LED | 20 | 51' 11-13/16" | 51' 13/16" | 18500
TRUE | DDS-A 1200E Cooler Door NT High Humidity 30x79-LED | 21 | 49' 5 9/16" | 48' 6-9/16" | 19425
TRUE | DDS-A 1200E Cooler Door NT High Humidity 30x79-LED | 22 | 51' 11 13/16" | 51' 13/16" | 20350
TRUE | DDS-A 1200E Cooler Door NT High Humidity 30x79-LED | 23 | 59' 9 1/4" | 58’ 10 1/4” | 21275
TRUE | DDS-A 1200E Cooler Door NT High Humidity 30x79-LED | 24 | 62' 3 1/2" | 61’ 4 1/2” | 22200
TRUE | DDS-A 1200E Cooler Door NT High Humidity 30x79-LED | 25 | 64' 10" | 63’ 11” | 23125
TRUE | DDS-A 1200E Cooler Door NT High Humidity 30x79-LED | 26 |  |  | 24050
TRUE | DDS-A 1200E Cooler Door NT High Humidity 30x79-LED | 27 |  |  | 24975
TRUE | DDS-A 1200E Cooler Door NT High Humidity 30x79-LED | 28 |  |  | 25900
TRUE | DDS-A 1200E Cooler Door NT High Humidity 30x79-LED | 29 |  |  | 26825
TRUE | DDS-A 1200E Cooler Door NT High Humidity 30x79-LED | 30 |  |  | 27750

## DDS 1300HH Doors
ddsHeatedDoor | DoorModelNumber | QtyOfDoors | ddsHeatedPassThruNetOpeningDoorDimension | DoorTotalCost
TRUE | No Cooler Pass Thru Display Doors | 0 | 0 | 0
TRUE | DDS Cooler Pass Thru Door High Humidity 36x81 | 1 | 3' 1-1/2" | 1221
TRUE | DDS Cooler Pass Thru Door High Humidity 36x81 | 2 | 6' 3" | 2442

## DDS 1200LT Doors
ddsHeatedDoor | DoorModelNumber | QtyOfDoors | thirtyInchFreezerDisplayDoorOverallDimension | thirtyInchFreezerDisplayNetOpening | DoorTotalCost
TRUE | No Freezer Display Doors | 0 | 0 | 0 | 0
TRUE | DDS-A 1200E Freezer Door Low Temp 30x79-LED | 1 | 3' 9 15/16" | 2' 7-15/16" | 995
TRUE | DDS-A 1200E Freezer Door Low Temp 30x79-LED | 2 | 6' 4 7/16" | 5' 2-7/16" | 1990
TRUE | DDS-A 1200E Freezer Door Low Temp 30x79-LED | 3 | 8' 10 13/16" | 7' 8-13/16" | 2985
TRUE | DDS-A 1200E Freezer Door Low Temp 30x79-LED | 4 | 11' 5 1/16" | 10' 3-1/16" | 3980
TRUE | DDS-A 1200E Freezer Door Low Temp 30x79-LED | 5 | 13' 11 7/16" | 12' 9-7/16" | 4975
TRUE | DDS-A 1200E Freezer Door Low Temp 30x79-LED | 6 | 16' 7 3/16" | 15' 5-3/16" | 5970
TRUE | DDS-A 1200E Freezer Door Low Temp 30x79-LED | 7 | 19' 1 9/16" | 17' 11-9/16" | 6965
TRUE | DDS-A 1200E Freezer Door Low Temp 30x79-LED | 8 | 21' 7 15/16" | 20' 5-15/16" | 7960
TRUE | DDS-A 1200E Freezer Door Low Temp 30x79-LED | 9 | 24' 2 5/16" | 23' 5/16" | 8955
TRUE | DDS-A 1200E Freezer Door Low Temp 30x79-LED | 10 | 26' 8 9/16" | 25' 6-9/16" | 9950
TRUE | DDS-A 1200E Freezer Door Low Temp 30x79-LED | 11 | 29' 4 5/16" | 28' 2-5/16" | 10945
TRUE | DDS-A 1200E Freezer Door Low Temp 30x79-LED | 12 | 31' 10 11/16" | 30' 8-11/16" | 11940
TRUE | DDS-A 1200E Freezer Door Low Temp 30x79-LED | 13 | 34' 5 1/16" | 33' 3-1/16" | 12935
TRUE | DDS-A 1200E Freezer Door Low Temp 30x79-LED | 14 | 36' 11 7/16" | 35' 9-7/16" | 13930
TRUE | DDS-A 1200E Freezer Door Low Temp 30x79-LED | 15 | 39' 5 11/16" | 38' 3-11/16" | 14925
TRUE | DDS-A 1200E Freezer Door Low Temp 30x79-LED | 16 | 42' 1 9/16" | 40' 11-9/16" | 15920
TRUE | DDS-A 1200E Freezer Door Low Temp 30x79-LED | 17 | 44' 7 13/16" | 43' 5-13/16" | 16915
TRUE | DDS-A 1200E Freezer Door Low Temp 30x79-LED | 18 | 47' 2 3/16" | 46' 3/16" | 17910
TRUE | DDS-A 1200E Freezer Door Low Temp 30x79-LED | 19 | 49' 8 9/16" | 48' 6-9/16" | 18905
TRUE | DDS-A 1200E Freezer Door Low Temp 30x79-LED | 20 | 52' 2 13/16" | 51' 13/16" | 19900
TRUE | DDS-A 1200E Freezer Door Low Temp 30x79-LED | 21 | 49' 8 9/16" | 48' 6-9/16" | 20895
TRUE | DDS-A 1200E Freezer Door Low Temp 30x79-LED | 22 | 52' 2 13/16" | 51' 13/16" | 21890
TRUE | DDS-A 1200E Freezer Door Low Temp 30x79-LED | 23 | 60' 1/4" | 58’ 10 1/4” | 22885
TRUE | DDS-A 1200E Freezer Door Low Temp 30x79-LED | 24 | 62' 6 1/2" | 61’ 4 1/2” | 23880
TRUE | DDS-A 1200E Freezer Door Low Temp 30x79-LED | 25 | 65' 1" | 63’ 11” | 24875
TRUE | DDS-A 1200E Freezer Door Low Temp 30x79-LED | 26 |  |  | 25870
TRUE | DDS-A 1200E Freezer Door Low Temp 30x79-LED | 27 |  |  | 26865
TRUE | DDS-A 1200E Freezer Door Low Temp 30x79-LED | 28 |  |  | 27860
TRUE | DDS-A 1200E Freezer Door Low Temp 30x79-LED | 29 |  |  | 28855
TRUE | DDS-A 1200E Freezer Door Low Temp 30x79-LED | 30 |  |  | 29850

## Results
ProjectName | BoxSize | BoxDescription | referModelNumber | evapCoil | qtyEvapCoil | TotalCost
Abrar Test | 8x8 | CCI"door Expandable Walk-In Storage Cooler / Floorless | TS008MR404A2-T | LED052BEOM | 1 | 3777
Abrar | 6x8 | CCI"door Expandable Walk-In Storage Cooler / Floorless | TS006MR404A2-T | ADR060AEOM | 1 | 3329
Ripon Christian High School | 8x12 | CCI Outdoor Expandable Walk-In Storage Cooler / Floorless | TS008MR404A2-T | ADR089AEOM | 1 | 13669
Murphy's Tasty Treat | 6x6 | CCI Outdoor Expandable Walk-In Storage Cooler/Freezer Combo | TS006MR404A2-T | ADR060AEOM | 1 | 20715
Keith Edester LLC | 8x12 | CCI Outdoor Expandable Walk-In Storage Cooler/Freezer Combo | TS008MR404A2-T | ADR089AEOM | 1 | 34320
Supermercado Lomabonita 5 | 8x12 | CCI"door Expandable Walk-In Storage Cooler/Freezer Combo | TS010MR404A2-T | ADR112AEOM | 1 | 28919
Happy Moose Juice | 12x20 | CCI"door Expandable Walk-In Storage Cooler / Floorless | TS040MR404A2-T | ADR325AEOM | 1 | 28033
Atlas Energy Services | 8x12 | CCI"door Expandable Walk-In Storage Freezer with Floor | TS035XR404A2 | LED124BEOM | 1 | 18015
Omnitek | 8x8 | CCI"door Expandable Walk-In Storage Freezer with Floor | TS025XR404A3 | LED090BEOM | 1 | 15304
B3 Mechanical | 8x10 | CCI"door Expandable Walk-In Storage Cooler / Floorless | TS008MR404A2-T | ADR089AEOM | 1 | 3132

## Result
| Project name | Box Cost | Box Freight Cost | Miscellaneous Cost | Product Name | BoxInfo isActive | BoxInfo boxType | BoxInfo referBrand | BoxInfo horsePower | BoxInfo referModelNumber | BoxInfo evapCoil | BoxInfo qtyEvapCoil | BoxInfo referSysTotalCost | BoxInfo btu404A | BoxInfo btu448A | anthonyHeatedDoor | DoorModelNumber | QtyOfDoors | anthonyCoolerPassThruNetOpeningDoorDimension | DoorTotalCost | Total Cost | ddsHeatedDoor | thirtyInchCoolerDisplayDoorOverallDimension | thirtyInchCoolerDisplayNetOpening
0 | Reddy Test | 100 | 100 | 200 | CCI"door Expandable Walk-In Storage Cooler / Floorless | TRUE | cooler | Turbo Air | 0.75 | TS008MR404A2-T | LED052BEOM | 1 | 3377 | 9377 | 9404 | 0 | 403W Normal Temp Pass Thru Cooler Door 36x81 | 1 | 3' 1-1/2" | 1301 | 5078
1 | Reddy | 100 | 100 | 100 | CCI"door Expandable Walk-In Storage Cooler / Floorless | TRUE | freezer | ABCO | 3 | BCH0030LBACZA0200 | BEL0130BS6EMAB0400 | 1 | 5416 | 10644 | 8803 |  | DDS Cooler Door NT NHG 30x79-LED | 3 |  | 2358 | 8074 | 0 | 8' 7-11/16" | 7' 8-11/16"
2 | MBM Contractors | 9400 | 2500 | 360 | CCI"door Walk" Display Cooler Floorles | TRUE | cooler | Turbo Air | 4 | TS040MR404A2-T | ADR137AEOX | 2 | 5810 | 33427 | 34140 |  | DDS-A 1200E Cooler Door NT Heated 30x79-LED | 12 |  | 11376 | 29446 | TRUE | 31' 7-7/8" | 30' 8-7/8"